General Information

Date and Time: 2009.12.18 23:28:35

Application version: Version 2.5.1

SDK version i1: Version 3.4.0  Build 131

SDK version iO: Version 1.1.2  Build 100

SDK version iSis: Version 1.0.5  Build 70

Platform: Microsoft Windows 7,

Device Information

Device type: i1Display (Version 2) [ Ambient Light  Emission ]

Serial number: xxxxx

Calibration

Emission calibration: Successful

Emission Test

White measurement: Successful

Gray measurement: Successful

Black measurement: Successful

Red measurement: Successful

Green measurement: Successful

Blue measurement: Successful

Emission Test: Pass

*** PASS ***

**************************

General Information

Date and Time: 2009.12.18 23:28:35

Application version: Version 2.5.1

SDK version i1: Version 3.4.0  Build 131

SDK version iO: Version 1.1.2  Build 100

SDK version iSis: Version 1.0.5  Build 70

Platform: Microsoft Windows ???,

Device Information

Device type: i1Display (Version 2) [ Ambient Light  Emission ]

Serial number: xxxxxxx

Calibration

Emission calibration: Successful

Emission Test

White measurement: Successful (X=108.688 Y=114.754 Z=120.349)

Gray measurement: Successful (X=39.022 Y=40.647 Z=44.932)

Black measurement: Successful (X=0.176 Y=0.148 Z=0.325)

Red measurement: Successful (X=35.840 Y=15.463 Z=1.786)

Green measurement: Successful (X=54.689 Y=93.752 Z=16.242)

Blue measurement: Successful (X=17.931 Y=5.606 Z=102.227)

Emission Test: Pass

*** PASS ***